🫀 CardioSense AI — Comprehensive Project Documentation & Technical Architecture Manual

| **Team CODE BRO** | *Tushar Jain & Niranjan K* |
| --- | --- |

📋 Table of Contents

[Executive Summary & Problem Statement](#1-executive-summary--problem-statement)

[System Architecture & Data Pipeline](#2-system-architecture--data-pipeline)

[Deep Learning & Signal Processing Specifications](#3-deep-learning--signal-processing-specifications)

3.1 [PyTorch 1D-CNN Classification Engine](#31-pytorch-1d-cnn-classification-engine)

3.2 [Butterworth Bandpass DSP Filtering (SciPy)](#32-butterworth-bandpass-dsp-filtering-scipy)

3.3 [Signal Quality Index (SQI) Assessor](#33-signal-quality-index-sqi-assessor)

3.4 [Explainable AI (XAI) Saliency Mapping](#34-explainable-ai-xai-saliency-mapping)

[Hardware Connectivity & Web Serial Oscilloscope](#4-hardware-connectivity--web-serial-oscilloscope)

[Complete REST API Specification](#5-complete-rest-api-specification)

5.1 [Authentication Endpoints (/api/v1/auth)](#51-authentication-endpoints-apiv1auth)

5.2 [Analysis & Upload Endpoints (/api/v1/analysis)](#52-analysis--upload-endpoints-apiv1analysis)

5.3 [Doctor Triage Endpoints (/api/v1/doctor)](#53-doctor-triage-endpoints-apiv1doctor)

5.4 [Admin & System Endpoints (/api/v1/admin)](#54-admin--system-endpoints-apiv1admin)

5.5 [CardioAI Assistant Chat Endpoints (/api/v1/chat)](#55-cardioai-assistant-chat-endpoints-apiv1chat)

[Database Schema & Data Models](#6-database-schema--data-models)

[Frontend Architecture & Component Guide](#7-frontend-architecture--component-guide)

[Step-by-Step Local Setup & Installation](#8-step-by-step-local-setup--installation)

[Automated Testing & Quality Assurance](#9-automated-testing--quality-assurance)

[Deployment, Containerization & Troubleshooting](#10-deployment-containerization--troubleshooting)

1. Executive Summary & Problem Statement

1.1 The Challenge

Cardiovascular Diseases (CVDs) remain the leading cause of global mortality, accounting for nearly 17.9 million deaths annually. Conditions like Bradycardia, Tachycardia, and ventricular Arrhythmias frequently go unnoticed during early stages because:

Continuous monitoring is expensive and restricted to high-resource hospitals.

Manual waveform reading is labor-intensive and requires experienced cardiologists.

Language & regional barriers restrict clinical report comprehension in rural healthcare centers.

1.2 The CardioSense AI Solution

CardioSense AI is a multi-modal, explainable AI screening platform designed to assist healthcare workers and physicians by combining:

PyTorch 1D Convolutional Neural Networks trained on benchmark PhysioNet datasets.

Explainable AI (XAI) Saliency Mapping to visually highlight exact timeframes (e.g., 2.40s - 3.20s) driving predictions.

Hardware Integration via Web Serial API to stream real-time 250 Hz digital ECG signals directly from low-cost hardware sensors (AD8232 / Arduino) to the browser.

Multilingual Clinical PDF Generation supporting 8 Indian languages (English, Hindi, Tamil, Telugu, Gujarati, Marathi, Bengali, Kannada).

Physician Sign-Off & Anonymized Clinical Research Exporters.

2. System Architecture & Data Pipeline

2.1 High-Level Architecture Diagram

graph TD;
    subgraph Frontend Layer [Next.js 14 / React 18 / TypeScript]
        UI["Web Dashboard & Triage Workstation"]
        WebSerial["Web Serial API (250 Hz Serial Link)"]
        WebCam["Webcam Optical PPG Scanner"]
        PDFEng["Native 2-Page PDF Screening Generator"]
    end

    subgraph API Layer [FastAPI / Uvicorn Service]
        AuthRoute["/api/v1/auth"]
        AnalysisRoute["/api/v1/analysis"]
        DoctorRoute["/api/v1/doctor"]
        AdminRoute["/api/v1/admin"]
        ChatRoute["/api/v1/chat"]
    end

    subgraph Machine Learning & Signal Processing Pipeline [PyTorch & SciPy]
        DSP["Butterworth Bandpass Filter (0.5Hz - 40Hz)"]
        SQI["Signal Quality Assessor (SNR & Baseline)"]
        PeakDet["SciPy R-Peak Detector"]
        CNN1D["1D-CNN Inference Engine"]
        XAI["Gradient-Based Saliency Mapper"]
    end

    subgraph Data & Storage Layer
        DB[(SQLite / SQLAlchemy ORM)]
        FileSystem["Waveform & Signal Storage (.json / .csv)"]
    end

    WebSerial -->|Raw Stream| UI
    WebCam -->|PPG Signal| UI
    UI -->|Multipart Data / JSON REST| API Layer
    AnalysisRoute --> DSP
    DSP --> SQI
    SQI --> PeakDet
    PeakDet --> CNN1D
    CNN1D --> XAI
    CNN1D & XAI --> AnalysisRoute
    AnalysisRoute --> DB
    AnalysisRoute --> FileSystem
    API Layer -->|Class Probabilities & XAI Map| UI
    UI --> PDFEng

2.2 End-to-End Signal Processing Lifecycle

sequenceDiagram
    autonumber
    actor User as Healthcare Worker / Physician
    participant FE as Next.js Frontend
    participant API as FastAPI Backend
    participant DSP as SciPy Filter & SQI
    participant ML as PyTorch 1D-CNN
    participant XAI as Explainability Engine
    participant DB as Database

    User->>FE: Upload Raw ECG (.csv / .json / hardware stream)
    FE->>API: POST /api/v1/analysis/upload (Multipart)
    API->>DSP: Apply Butterworth Bandpass (0.5-40Hz) & Z-score normalization
    DSP-->>API: Return Filtered Signal & SQI Metrics (Score % & Status)
    API->>ML: Pass normalized signal tensor (Shape: [1, 1, 1000])
    ML-->>API: Output logits -> Softmax probabilities (Normal, Brady, Tachy, Arrhythmia)
    API->>XAI: Compute gradients with respect to input waveform
    XAI-->>API: Return saliency scores & high-attribution time window
    API->>DB: Store AnalysisRecord & signal metrics
    API-->>FE: Return JSON response (Classification, Probabilities, SQI, Saliency)
    FE-->>User: Display interactive canvas waveform, XAI highlight, & PDF download option

3. Deep Learning & Signal Processing Specifications

3.1 PyTorch 1D-CNN Classification Engine

The core AI classification engine uses a customized 1-Dimensional Convolutional Neural Network (1D-CNN) optimized for temporal time-series signal classification.

Input Dimension: (Batch_Size, 1, 1000) representing a 10-second ECG window sampled at 100 Hz (or resampled from 250 Hz).

Target Classes:

Normal Sinus Rhythm

Bradycardia (< 60 BPM)

Tachycardia (> 100 BPM)

Arrhythmia (Irregular R-R interval variation)

Network Layer Configuration:

# Model Architecture Blueprint (app/services/ml_service.py)
Conv1D(1 -> 32, kernel_size=7, stride=1, padding=3) + BatchNorm1D + ReLU + MaxPool1D(2)
Conv1D(32 -> 64, kernel_size=5, stride=1, padding=2) + BatchNorm1D + ReLU + MaxPool1D(2)
Conv1D(64 -> 128, kernel_size=3, stride=1, padding=1) + BatchNorm1D + ReLU + MaxPool1D(2)
AdaptiveAvgPool1D(1)
Linear(128 -> 64) + ReLU + Dropout(0.3)
Linear(64 -> 4) -> Softmax Output

Training Datasets: PhysioNet WFDB benchmark datasets (MIT-BIH Arrhythmia Records 100, 101, 106, 200, 203).

3.2 Butterworth Bandpass DSP Filtering (SciPy)

Raw cardiac signals often contain muscle tremors (high frequency noise) and breathing baseline wander (low frequency noise). CardioSense AI applies a 4th-Order Digital Butterworth Bandpass Filter:

\text{Passband}: 0.5\text{ Hz} \le f \le 40.0\text{ Hz}

\text{SciPy Implementation}: \text{scipy.signal.butter}(N=4, W_n=[0.5, 40.0], btype='bandpass', fs=fs)

Z-Score Normalization:

x_{\text{normalized}} = \frac{x - \mu}{\sigma + 1e-8}

3.3 Signal Quality Index (SQI) Assessor

Before classification, the system calculates a holistic Signal Quality Score (0 - 100%):

Signal-to-Noise Ratio (SNR): Evaluates in-band vs. out-of-band energy distribution.

Baseline Wander Index: Checks low-frequency drift magnitude.

Zero-Crossing Rate (ZCR): Detects flatline sensor detachments or high-frequency electrode chatter.

SQI Categorization:

\ge 80\%: EXCELLENT

60\% - 79\%: ACCEPTABLE

< 60\%: POOR (Triggers quality warning banner on frontend).

3.4 Explainable AI (XAI) Saliency Mapping

To make predictions transparent to cardiologists:

Computes absolute gradients of the top class logit with respect to the input waveform:

| $$S(t) = \left | \frac{\partial \hat{y}_c}{\partial x(t)} \right | $$ |
| --- | --- | --- |

Smooths the gradient scores with a Gaussian moving window.

Extracts the peak attention window (e.g., 2.40s - 3.20s) where signal morphology contributed most significantly to the AI prediction.

4. Hardware Connectivity & Web Serial Oscilloscope

4.1 Web Serial API Real-Time Oscilloscope

CardioSense AI connects directly to physical microcontrollers (Arduino / STM32 / AD8232 ECG sensor module) without installing external drivers.

Baud Rates Supported: 9600, 57600, 115200

Sampling Rate: 250 Hz stream processing

Buffer Mechanism: Ring buffer storing up to 2,500 samples (10 seconds active window).

Web Audio API Engine: Synthesizes a real-time cardiac audio beep sound synchronized with detected R-peaks (frequency: 880 Hz sine wave tone, duration: 80 ms).

5. Complete REST API Specification

All API endpoints are hosted by FastAPI at http://localhost:8000. Full interactive Swagger documentation is available at /docs.

5.1 Authentication Endpoints (`/api/v1/auth`)

| Method | Endpoint | Description | Auth Required |
| --- | --- | --- | --- |
| `POST` | `/api/v1/auth/register` | Register new patient or physician account | No |
| `POST` | `/api/v1/auth/login` | Authenticate user & return JWT Bearer Token | No |
| `POST` | `/api/v1/auth/logout` | Invalidate active user session | Yes |

5.2 Analysis & Upload Endpoints (`/api/v1/analysis`)

| Method | Endpoint | Description | Auth Required |
| --- | --- | --- | --- |
| `POST` | `/api/v1/analysis/upload` | Upload raw ECG CSV/JSON for full 1D-CNN + XAI analysis | Optional |
| `GET` | `/api/v1/analysis/history` | Retrieve paginated list of past patient analysis records | Yes |
| `GET` | `/api/v1/analysis/{id}` | Fetch full details, waveform data, and XAI map for analysis `{id}` | Optional |
| `DELETE` | `/api/v1/analysis/{id}` | Delete an analysis record | Yes |

5.3 Doctor Triage Endpoints (`/api/v1/doctor`)

| Method | Endpoint | Description | Auth Required |
| --- | --- | --- | --- |
| `GET` | `/api/v1/doctor/patients` | Retrieve list of patient records pending doctor review | Yes (Doctor) |
| `POST` | `/api/v1/doctor/{id}/approve` | Attach doctor signature, clinical note, and set status to APPROVED | Yes (Doctor) |

5.4 Admin & System Endpoints (`/api/v1/admin`)

| Method | Endpoint | Description | Auth Required |
| --- | --- | --- | --- |
| `GET` | `/api/v1/health` | Healthcheck endpoint returning API and DB status | No |
| `GET` | `/api/v1/admin/stats` | Aggregate system metrics (Total scans, diagnosis distribution, SQI averages) | Yes (Admin) |
| `GET` | `/api/v1/admin/models` | List active PyTorch model weights & version information | Yes (Admin) |

5.5 CardioAI Assistant Chat Endpoints (`/api/v1/chat`)

| Method | Endpoint | Description | Auth Required |
| --- | --- | --- | --- |
| `POST` | `/api/v1/chat` | Query CardioAI Assistant for clinical explanation or triage advice | No |

6. Database Schema & Data Models

CardioSense AI uses SQLAlchemy ORM configured for SQLite (cardioai.db) or PostgreSQL.

erDiagram
    USERS ||--o{ ANALYSIS_RECORDS : "owns / creates"
    ANALYSIS_RECORDS ||--o| DOCTOR_ANNOTATIONS : "reviewed by"

    USERS {
        int id PK
        string email UK
        string hashed_password
        string full_name
        string role "patient | doctor | admin"
        datetime created_at
    }

    ANALYSIS_RECORDS {
        int id PK
        int user_id FK
        string patient_name
        int age
        string gender
        string primary_prediction
        float confidence_score
        float heart_rate_bpm
        float sqi_score
        string sqi_status
        json class_probabilities
        json waveform_data
        json saliency_map
        string saliency_window
        datetime created_at
    }

    DOCTOR_ANNOTATIONS {
        int id PK
        int analysis_id FK
        int doctor_id FK
        string approval_status "PENDING | APPROVED | REJECTED"
        string clinical_notes
        string doctor_signature
        datetime reviewed_at
    }

7. Frontend Architecture & Component Guide

Built with Next.js 14 App Router, React 18, TypeScript, and Tailwind CSS.

7.1 Key Page Routes (`src/app/`)

/ — Homepage with product overview, features, and quick scan launcher.

/upload — Main ECG analysis workstation with CSV/JSON upload, real-time waveform chart, XAI saliency map, and PDF export.

/scanner — Real-time Web Serial USB hardware oscilloscope & Webcam optical PPG sensor scanner.

/doctor — Doctor triage workstation for reviewing, signing off, and appending clinical remarks.

/history — Searchable, filterable table of past patient records with quick re-download.

/admin — System analytics dashboard and model version controller.

/login / /signup — Interactive authentication portal.

7.2 Core Reusable Components (`src/components/`)

WaveformChart.tsx: High-performance HTML5 Canvas 2D renderer for 10-second cardiac signals with zoom and grid overlays.

HospitalDeviceLink.tsx: Web Serial API connection manager for hardware ECG devices.

ReportTemplate.tsx: Standardized 2-page hospital screening report generator.

ReportDownloadModal.tsx: Multilingual selector modal supporting PDF download in 8 Indian regional languages.

ClinicalTrialExporter.tsx: Exports anonymized PhysioNet-formatted CSV/JSON research datasets (SUBJ_XXXXXX).

CardioAssistantChat.tsx: Floating AI chat assistant widget.

8. Step-by-Step Local Setup & Installation

Prerequisites

Node.js: v18.0 or higher

Python: v3.10 or higher

Git

Step 1: Clone Repository

git clone https://github.com/Tusharjain-19/cardiosense_ai.git
cd "cardiosense_ai"

Step 2: Backend Setup (FastAPI & ML Engine)

cd backend

# Create virtual environment
python -m venv venv

# Activate virtual environment (Windows PowerShell)
.\venv\Scripts\Activate.ps1

# Install required dependencies
pip install -r requirements.txt

# Start FastAPI server on port 8000
python -m uvicorn app.main:app --reload --port 8000

API Base URL: http://localhost:8000

API Documentation (Swagger): http://localhost:8000/docs

Step 3: Frontend Setup (Next.js 14)

Open a new terminal window:

cd frontend

# Install Node dependencies
npm install

# Start Next.js development server
npm run dev

Web Application URL: http://localhost:3000

9. Automated Testing & Quality Assurance

CardioSense AI includes a complete automated test suite powered by pytest covering API routes, PyTorch neural network forward pass, SciPy DSP filters, and Signal Quality scoring:

cd backend
python -m pytest tests/ -v

Test Suite Summary (32/32 Passing Tests):

test_health & test_root: API health checks.

test_register, test_login, test_logout: Authentication pipeline.

test_upload_with_file, test_get_analysis: ECG analysis & storage.

test_output_shape, test_softmax_sums_to_one, test_gradient_flow: PyTorch 1D-CNN tensor integrity & gradient backpropagation.

test_output_shape, test_short_signal_padding, test_normalization: Preprocessing & DSP filter.

test_quality_score_range, test_clean_signal_high_quality, test_noisy_signal_lower_quality: Signal Quality Assessor (SQI).

10. Deployment, Containerization & Troubleshooting

10.1 Containerization with Docker

The backend includes a production-ready Dockerfile and docker-compose.yml:

# Build and run backend container
cd backend
docker-compose up --build -d

10.2 Troubleshooting Guide

| Issue | Root Cause | Resolution |
| --- | --- | --- |
| `Web Serial API not available` | Browser compatibility or non-HTTPS connection | Use Chrome, Edge, or Opera over `localhost` or HTTPS. |
| `CORS Error when uploading signal` | FastAPI CORS middleware mismatch | Ensure `BACKEND_CORS_ORIGINS` in `backend/app/config.py` includes `http://localhost:3000`. |
| `npm run dev fails: ENOENT package.json` | Running `npm` from project root instead of `frontend/` | Run `cd frontend` before executing `npm run dev`. |
| `ModuleNotFoundError: pytest` | System python used instead of venv | Run `python -m pytest tests/ -v` using the virtual environment python interpreter. |

<div align="center">

<p>&copy; 2026 <strong>Team CODE BRO</strong> — CardioSense AI. All rights reserved.</p>

</div>